## Assets
AssetNum | ManualName | Description | ServiceCode | Service | SubServiceCode | SubService | SiteCode | SiteName | StructureCode | StructureName | LevelCode | LevelName | SpaceNumber | SpaceName | Location Description | Make | Model | Serial | Supplier | Qty | Retail Price $ | Install Date | Wty Expiry Date | Life Exp | Reference information | Created Date | Last Updated Date | Last Updated By | Unique WebFM AssetID
1 | Fire Hydraulics | Single Hydrant Valve |  | Fire Services |  | Hydrant Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78 | Corridor | Wall Mounted | Mathews Fire Alarm | VLV 63 STORZ | FS00362 | Chubb Fire | 3 | 600 | 12/08/2013 | 12/08/2014 | 10 |  | 17/06/2013 | 22/01/2014 | Glenn Summers | 719807
1.1 | Fire Hydraulics | Single Hydrant Valve |  | Fire Services |  | Hydrant Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.85 | Sitting | Wall Mounted | Mathews Fire Alarm | VLV 63 STORZ | FS00362 | Chubb Fire | 3 | 600 | 12/08/2013 | 12/08/2014 | 10 |  | 17/06/2013 | 17/06/2013 | Glenn Summers | 719812
2 | Fire Hydraulics | Single Hydrant Valve |  | Fire Services |  | Hydrant Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.97 | Existing Sitting | Wall Mounted | Mathews Fire Alarm | VLV 63 STORZ | FS00362 | Chubb Fire | 3 | 600 | 12/08/2013 | 12/08/2014 | 10 |  | 17/06/2013 | 17/06/2013 | Glenn Summers | 719821
1 | Hydraulic Services | Sink Mixer |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Hob Mounted | Enware | Oras Saga EMNWSM307A | n/a | Samios | 3 | 400 | 11/09/2013 | 11/08/2014 | 5 |  | 11/09/2013 | 01/04/2014 | Glenn Summers | 858882
2 | Hydraulic Services | Electronic Sensor Tap |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | Wall Mounted | Enware | Enmatic ENM6550 | n/a | Samios | 2 | 600 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 01/04/2014 | Glenn Summers | 858900
3 | Hydraulic Services | Sink Set |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | Wall Mounted | Enware | ENWVP315 | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858923
4 | Hydraulic Services | Hand Shower |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | Enware | ENWSGR023 | n/a | Samios | 38 | 150 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 12/09/2013 | Glenn Summers | 858926
5 | Hydraulic Services | Shower Mixer |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | In Wall Mounted | Enware | ENWSLM608 | n/a | Samios | 38 | 400 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858928
6 | Hydraulic Services | Basin Set |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Hob Mounted | Enware | ENWLEV80306 Basin Set Lever | n/a | Samios | 37 | 400 | 11/09/2013 | 11/09/2013 | 5 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858931
7 | Hydraulic Services | Basin Set |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 97 | ENS | Hob Mounted | Enware | ENWLEV150306 Basin Set Disabled | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858936
8 | Hydraulic Services | Wall basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | Wall Mounted | IFO | Cera 600 | n/a | Samios | 2 | 500 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 22/01/2014 | Glenn Summers | 858939
9 | Hydraulic Services | Basin Shroud |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | Wall Mounted | IFO | Cera IFO4316FM2 | n/a | Samios | 2 | 200 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 22/01/2014 | Glenn Summers | 858940
10 | Hydraulic Services | Micro Trap C/P |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Under Basin | IFO | IFO15922 | n?a | Samios | 38 | 50 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858945
11 | Hydraulic Services | Cleaners Sink |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | Wall Mounted | Franke | ENF-350960 | n/a | Samios | 1 | 500 | 11/09/2013 | 11/09/2014 | 10 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858951
12 | Hydraulic Services | Single Bowl Sink |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Bench Mounted | RF | M820R | n/a | Samios | 3 | 250 | 11/09/2013 | 11/09/2014 | 10 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858957
13 | Hydraulic Services | WC |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Floor Mounted | IFO | Sign IFO 6861 | n/a | Samios | 38 | 1000 | 11/09/2013 | 11/09/2014 | 10 |  | 11/09/2013 | 22/01/2014 | Glenn Summers | 858959
14 | Hydraulic Services | WC Seat |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Floor Mounted | IFO | IFO 0554-BD1999 | n/a | Samios | 38 | 300 | 11/09/2013 | 11/09/2014 | 5 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858960
15 | Hydraulic Services | Basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | IFO | IFO Sign IFO7472 | n/a | Samios | 35 | 700 | 11/09/2013 | 11/09/2014 | 10 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858961
16 | Hydraulic Services | Basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | IFO | IFO 7492 | n/a | Samios | 3 | 900 | 11/09/2013 | 11/09/2014 | 10 |  | 11/09/2013 | 22/01/2014 | Glenn Summers | 858962
17 | Hydraulic Services | Basin Drawer Unit |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | IFO | IFO Sense Cab | n/a | Samios | 41 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 11/09/2013 | 11/09/2013 | Glenn Summers | 858964
18 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 59 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859892
19 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 61 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859893
20 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 65 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859894
21 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 67 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859895
22 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 69 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859896
23 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 71 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859897
24 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 74 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859898
25 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 75 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859899
26 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 76 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859900
27 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 77 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859901
28 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 78 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859902
29 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 79 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859903
30 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 82 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859904
31 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 84 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859905
32 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 86 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859906
33 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 87 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859907
34 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 89 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859908
35 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 91 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859909
36 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 94 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859910
37 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 95 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859911
38 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 97 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859912
39 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 99 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859913
40 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 101 | ENS | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859914
41 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 102 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859915
42 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 103 | ENS | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859916
43 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859917
44 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.81 | Ex CL | Wall Mounted | Aquablend | 1500 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859918
45 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.76 | Corridor | Wall Mounted | Aquablend | 1000 20mm | n/a | Samios | 1 | 400 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 21/10/2013 | Glenn Summers | 859919
46 | Hydraulic Services | RPZD |  | Hydraulic Services |  | Backflow Prevention Device | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.120 | DU | In Wall | TYCO | RP 03 | n/a | Reece | 2 | 1000 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 12/09/2013 | Glenn Summers | 859927
47 | Hydraulic Services | Hot Water Service |  | Hydraulic Services |  | Hot Water Units Gas | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform Mounted | Rheem | Commpak | n/a | Reece | 1 | 10000 | 11/09/2013 | 11/09/2014 | 10 |  | 12/09/2013 | 27/09/2013 | Glenn Summers | 859933
1 | Fire Electrical | Smoke detectors |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Apollo | XP 95 | 201-0003 | Ampac | 95 | 95 |  |  | 20 years |  | 16/09/2013 | 07/07/2014 | Adam McSween | 862842
2 | Fire Electrical | Evacustion Speakers |  | Fire Services |  | Ewis | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Redback | One Shot | 218-0026 | Ampac | 40 | 18 |  |  | 20 |  | 16/09/2013 | 16/09/2013 | Adam McSween | 862843
3 | Fire Electrical | Detector Base |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Apollo | XP 95 detector base | 201-0004 | Ampac | 95 | 12 |  |  | 20 |  | 16/09/2013 | 16/09/2013 | Adam McSween | 862844
4 | Fire Electrical | Manual call points |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Corridors | Apollo | XP95 Manual Call Point | 213-0050 | Ampac | 10 | 95 |  |  | 20 |  | 16/09/2013 | 16/09/2013 | Adam McSween | 862845
5 | Fire Electrical | Magnetic door holders |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Smoke doors | Ampac | H136- Surface mount | 212-003 | Ampac | 14 | 125 |  |  | 20 |  | 16/09/2013 | 16/09/2013 | Adam McSween | 862846
1 | Security, Communications & Nurse Call | Electric Mag Lock |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | FSH | 3500DM | N/A | Comtel | 1 | 572 | 10/10/2013 | 10/10/2014 | 2 years |  | 17/09/2013 | 21/11/2014 | Micah Thomas | 863228
1 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-079 | Bed | Wall | Solazar | 186316 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | A | 23/09/2013 | 24/09/2013 | Steve Horvath | 865435
2 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-087 | Bed | Wall | Solazar | 186318 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865513
3 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-088 | Bed | Wall | Solazar | 186318 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865530
4 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-089 | Bed | Wall | Solazar | 186318 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865532
5 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-091 | Bed | Wall | Solazar | 186318 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865533
6 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-092 | Bed | Wall | Solazar | 186318 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865535
7 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-065 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865537
8 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-066 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865538
9 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-067 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865539
10 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-068 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865540
11 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-069 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865541
12 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-070 | Bed | Wall | Solazar | 186324 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | D | 24/09/2013 | 24/09/2013 | Steve Horvath | 865542
13 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.85 | Sitting | Wall | Solazar | 196220 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | E | 24/09/2013 | 24/09/2013 | Steve Horvath | 865543
14 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.117 | Staff Station | Wall | Solazar | 186406 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | F | 24/09/2013 | 24/09/2013 | Steve Horvath | 865544
15 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.75 | Activity/Sitting | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | H | 24/09/2013 | 24/09/2013 | Steve Horvath | 865545
16 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77 | Sitting | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | H | 24/09/2013 | 24/09/2013 | Steve Horvath | 865546
17 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77A | Lounge | Wall | Solazar | 186412 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | J | 24/09/2013 | 24/09/2013 | Steve Horvath | 865547
18 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77A | Lounge | Wall | Solazar | 186414 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | K | 24/09/2013 | 24/09/2013 | Steve Horvath | 865548
19 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77A | Lounge | Wall | Solazar | 186414 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | K | 24/09/2013 | 24/09/2013 | Steve Horvath | 865549
20 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.86 | Ex Lounge | Wall | Solazar | 186416 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | L | 24/09/2013 | 24/09/2013 | Steve Horvath | 865550
21 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.86 | Ex Lounge | Wall | Solazar | 186416 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | L | 24/09/2013 | 24/09/2013 | Steve Horvath | 865551
22 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78C | Ex Dining | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865552
23 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78C | Ex Dining | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865553
24 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78B | Ex Servery | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865554
25 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78B | Ex Servery | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865555
26 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78B | Ex Servery | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865556
27 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78B | Ex Servery | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865557
28 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.122 | Corridor | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865558
29 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.118 | Sitting | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | M | 24/09/2013 | 24/09/2013 | Steve Horvath | 865559
30 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77 | Sitting | Wall | Solazar | 186420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | N | 24/09/2013 | 24/09/2013 | Steve Horvath | 865561
31 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77 | Sitting | Wall | Solazar | 186420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | N | 24/09/2013 | 24/09/2013 | Steve Horvath | 865562
32 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77 | Sitting | Wall | Solazar | 186420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | N | 24/09/2013 | 24/09/2013 | Steve Horvath | 865563
33 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77A | Lounge | Wall | Solazar | 186420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | N | 24/09/2013 | 24/09/2013 | Steve Horvath | 865565
34 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.76 | Corridor | Wall | Solazar | 126416 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | P | 24/09/2013 | 24/09/2013 | Steve Horvath | 865566
35 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.115 | Corridor | Wall | Solazar | 126416 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | P | 24/09/2013 | 24/09/2013 | Steve Horvath | 865567
36 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.121 | Corridor | Wall | Solazar | 126416 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | P | 24/09/2013 | 24/09/2013 | Steve Horvath | 865568
37 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.76 | Corridor | Wall | Solazar | 126420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865569
38 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.90 | Corridor | Wall | Solazar | 126416 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | P | 24/09/2013 | 24/09/2013 | Steve Horvath | 865570
39 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.76 | Corridor | Wall | Solazar | 126420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865571
40 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.76 | Corridor | Wall | Solazar | 126420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865572
41 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.90 | Corridor | Wall | Solazar | 126420 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865573
42 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.90 | Corridor | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865574
43 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.93 | Corridor | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865575
44 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78 | Corridor | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865576
45 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.121 | Corridor | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865577
46 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.122 | Corridor | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | R | 24/09/2013 | 24/09/2013 | Steve Horvath | 865578
47 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-057 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865579
48 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-058 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865580
49 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-059 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865581
50 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-060 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865582
51 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-061 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865583
52 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-062 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865584
53 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-071 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865585
54 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-072 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865586
55 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-073 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865587
56 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-074 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865588
57 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-075 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865589
58 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-076 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865590
59 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-077 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865591
60 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-078 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865592
61 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-080 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865593
62 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-081 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865594
63 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-082 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865595
64 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-083 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865596
65 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-084 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865597
66 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-085 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865598
67 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-086 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865599
68 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-093 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865600
69 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-094 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865601
70 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-095 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865602
71 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-096 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865603
72 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-097 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865604
73 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-098 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865605
74 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-099 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865606
75 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-100 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865607
76 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-101 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865608
77 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-102 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865609
78 | Mechanical Services | Radiator |  | Mechanical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 01/09/2013 | 01/09/2014 | 15 years | S | 24/09/2013 | 24/09/2013 | Steve Horvath | 865610
79 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Ceiling | Fantech | PCE454DD | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 10 years | F-17 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865611
80 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Ceiling | Fantech | PCE454DD | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 10 years | F-15 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865612
81 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Ceiling | Fantech | MME404/3 | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 10 years | F-16 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865613
82 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Ceiling | Fantech | MME404/5 | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 10 years | F-20 | 24/09/2013 | 25/09/2013 | Steve Horvath | 865614
83 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.87 | Comm | Ceiling | Fantech | VCW306 | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 5 years | F-31 | 24/09/2013 | 25/09/2013 | Steve Horvath | 865615
84 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.73 | Comm. | Ceiling | Fantech | VCW306 | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 5 years | F-18 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865616
86 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Ceiling | Fantech | VCW306 | - | Fantech | 1 | 850 | 01/09/2013 | 01/09/2014 | 5 years | F-14 | 24/09/2013 | 25/09/2013 | Steve Horvath | 865618
87 | Mechanical Services | Pump |  | Mechanical Services |  | Pumps | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.06 | Boiler Room | Plinth | Grundfos | NB 32-200/206 | - | Autoheating | 1 | 3500 | 01/09/2013 | 01/09/2014 | 10 years | P3 | 24/09/2013 | 25/09/2013 | Steve Horvath | 865619
88 | Mechanical Services | Pump |  | Mechanical Services |  | Pumps | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.06 | Boiler Room | Plinth | Grundfos | NBG 80-50-315/277 | - | Autoheating | 1 | 3500 | 01/09/2013 | 01/09/2014 | 10 years | P4 | 24/09/2013 | 25/09/2013 | Steve Horvath | 865620
89 | Mechanical Services | Boiler |  | Mechanical Services |  | Boiler Plant | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.06 | Boiler Room | Plinth | Arizona | 500kW Steel Fire Tube | - | Autoheating | 1 | 22000 | 01/09/2013 | 01/09/2014 | 15 years | B-2 | 24/09/2013 | 06/02/2014 | Steve Horvath | 865624
90 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-073 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865651
91 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-074 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865652
92 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-075 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865653
93 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-076 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865654
94 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-077 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865656
95 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-078 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865657
96 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-079 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865658
97 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-080 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 06/02/2014 | Steve Horvath | 865659
98 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-097 | Bed | Wall | Mitsubishi | PKFY-P25VBM-e | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-A | 24/09/2013 | 24/09/2013 | Steve Horvath | 865660
99 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-059 | Bed | Wall | Mitsubishi | MSZ-GE22VA-A1 | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 06/02/2014 | Steve Horvath | 865661
100 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-060 | Bed | Wall | Mitsubishi | MSZ-GE22VA-A1 | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 06/02/2014 | Steve Horvath | 865662
101 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-081 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 06/02/2014 | Steve Horvath | 865663
102 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-082 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865664
103 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-083 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865665
104 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-084 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865666
105 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-085 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865667
106 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-086 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865668
107 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-087 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865669
108 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-088 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865670
109 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-089 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865671
110 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-090 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865672
111 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-091 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865673
112 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-092 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865674
113 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-093 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865675
114 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-094 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865676
115 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-095 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865677
116 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-096 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865678
117 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-098 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865679
118 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-099 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865680
119 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-100 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865681
120 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-101 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865682
121 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-102 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865683
122 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-103 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-B | 24/09/2013 | 24/09/2013 | Steve Horvath | 865684
123 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-071 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865685
124 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-072 | Bed | Wall | Mitsubishi | PKFY-P32VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-C | 24/09/2013 | 24/09/2013 | Steve Horvath | 865686
125 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-065 | Bed | Wall | Mitsubishi | PKFY-P50VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-D | 24/09/2013 | 24/09/2013 | Steve Horvath | 865687
126 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-070 | Bed | Wall | Mitsubishi | PKFY-P50VHM-E | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-D | 24/09/2013 | 25/06/2014 | Steve Horvath | 865688
127 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.75 | Activity/Sitting | Ceiling | Mitsubishi | PLFY-P63VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-23 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865689
128 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.113 | Staff Station | Ceiling | Mitsubishi | PLFY-P20VCM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-29 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865690
129 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.122 | Corridor | Ceiling | Mitsubishi | PLFY-P63VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-30 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865691
130 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77 | Sitting | Ceiling | Mitsubishi | PLFY-P63VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-24 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865692
131 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78A | Dining | Ceiling | Mitsubishi | PLFY-P100VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-26 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865693
132 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78A | Dining | Ceiling | Mitsubishi | PLFY-P100VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-27 | 24/09/2013 | 24/09/2013 | Steve Horvath | 865694
133 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78C | Ex Dining | Ceiling | Mitsubishi | PLFY-P200VMH-E | - | Mitsubishi Electric | 1 | 2500 | 01/09/2013 | 01/09/2014 | 10 years | AC-28 | 24/09/2013 | 26/03/2014 | Steve Horvath | 865695
134 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.86 | Ex Lounge | Ceiling | Mitsubishi | PLFY-P63VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-25 | 24/09/2013 | 26/03/2014 | Steve Horvath | 865696
135 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.85 | Sitting | Ceiling | Mitsubishi | PLFY-P50VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-55 | 24/09/2013 | 26/03/2014 | Steve Horvath | 865697
136 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.77 | Sitting | Ceiling | Mitsubishi | PLFY-P63VBM-E | - | Mitsubishi Electric | 1 | 1500 | 01/09/2013 | 01/09/2014 | 10 years | AC-52 | 24/09/2013 | 26/03/2014 | Steve Horvath | 865698
137 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Roof Platform | Mitsubishi | PURY-P450YJM-A | - | Mitsubishi Electric | 1 | 10000 | 01/09/2013 | 01/09/2014 | 10 years | VRF-9 | 25/09/2013 | 26/03/2014 | Steve Horvath | 865715
138 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Roof Platform | Mitsubishi | PURY-P500YSJM-A | - | Mitsubishi Electric | 1 | 10000 | 01/09/2013 | 01/09/2014 | 10 years | VRF-10 | 25/09/2013 | 25/09/2013 | Steve Horvath | 865716
139 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Roof Platform | Mitsubishi | PURY-P450YJM-A | - | Mitsubishi Electric | 1 | 10000 | 01/09/2013 | 01/09/2014 | 10 years | VRF-11 | 25/09/2013 | 25/09/2013 | Steve Horvath | 865717
140 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Roof Platform | Mitsubishi | PURY-P400YJM-A | - | Mitsubishi Electric | 1 | 10000 | 01/09/2013 | 01/09/2014 | 10 years | VRF-12 | 25/09/2013 | 25/09/2013 | Steve Horvath | 865718
141 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Roof Platform | Mitsubishi | PURY-P350YJM-A | - | Mitsubishi Electric | 1 | 10000 | 01/09/2013 | 01/09/2014 | 10 years | VRF-13 | 25/09/2013 | 25/09/2013 | Steve Horvath | 865719
142 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-061 | Bed | Wall | Mitsubishi | MSZ-GE22VA-A1 | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-59A | 25/09/2013 | 25/09/2013 | Steve Horvath | 865720
143 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-062 | Bed | Wall | Mitsubishi | MSZ-GE22VA-A1 | - | Mitsubishi Electric | 1 | 700 | 01/09/2013 | 01/09/2014 | 10 years | AC-59B | 25/09/2013 | 25/09/2013 | Steve Horvath | 865721
144 | Mechanical Services | Multi Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | EXT | External |  |  | External Room 61 | Mitsubishi | MXZ-2C52VA-A1 | - | Mitsubishi Electric | 1 | 2000 | 01/09/2013 | 01/09/2014 | 10 years | A/C 59 | 25/09/2013 | 06/02/2014 | Steve Horvath | 865722
1 | Fire Services | Sprinkler heads |  | Fire Services |  | Automatic Sprinkler Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | All areas | Globe | Gl series | Gl4221 | Globe | 500 | 8 | 30/09/2013 |  | 25+ |  | 30/09/2013 | 30/09/2013 | Adam McSween | 867368
2 | Fire Services | Residential sprinklers |  | Fire Services |  | Automatic Sprinkler Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | All areas below ceiling | Globe | Gl series | Gl4110 | Globe | 500 | 10 | 31/08/2013 |  | 25+ |  | 30/09/2013 | 30/09/2013 | Adam McSween | 867369
3 | Fire Services | Sprinkler escutcheon plates |  | Fire Services |  | Automatic Sprinkler Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | All areas | Globw | 2 piece recessed | 3254244 | Globe | 1000 | 2 | 31/08/2013 |  | 25+ |  | 30/09/2013 | 30/09/2013 | Adam McSween | 867370
1 | Electrical Services | DB-2 |  | Electrical Services |  | Distribution Boards | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | SWITCHBOARD CUPBOARD | ABB | DB-2 | N/A | ABB | 1 | 8,000.00 | 01/08/2013 | 04/10/2014 | N/A | N/A | 04/10/2013 | 03/03/2014 | Micah Thomas | 875728
2 | Electrical Services | DB-5 |  | Electrical Services |  | Distribution Boards | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | SWITCHBOARD CUPBOARD | ABB | DB-2 | N/A | ABB | 1 | 8,000.00 | 01/08/2013 | 04/10/2014 | N/A | N/A | 04/10/2013 | 03/03/2014 | Micah Thomas | 875729
3 | Electrical Services | DB-6 |  | Electrical Services |  | Distribution Boards | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | SWITCHBOARD CUPBOARD | ABB | DB-2 | N/A | ABB | 1 | 8,000.00 | 01/08/2013 | 04/10/2014 | N/A | N/A | 04/10/2013 | 18/08/2014 | Daryl Marson | 875730
4 | Electrical Services | LIGHT FTTINGS |  | Electrical Services |  | Lighting Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | THROUGH OUT | VARIOUS | LIGHT FITTINGS | N/A | LECKYS EPPING | 1 | 8,000.00 | 01/08/2013 | 04/10/2014 | N/A | N/A | 04/10/2013 | 24/11/2014 | Micah Thomas | 875743
2 | Security, Communications & Nurse Call | Electric Strike |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | FSH | FES20M | na | Comtel | 1 | 241 | 10/10/2013 | 10/10/2014 | 5 years |  | 10/10/2013 | 21/11/2014 | Micah Thomas | 876670
3 | Security, Communications & Nurse Call | Electric Strike |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | FSH | FES10 | N/A | Comtel | 1 | 115 | 10/10/2013 | 10/10/2014 | 2 years |  | 10/10/2013 | 20/11/2014 | Micah Thomas | 876671
4 | Security, Communications & Nurse Call | Security Keypad |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Rosslare | ayc-F54 | N/A | Comtel | 6 | 153 | 10/10/2013 | 10/10/2014 | 2 years |  | 10/10/2013 | 20/11/2014 | Micah Thomas | 876672
5 | Security, Communications & Nurse Call | CCTV Camera |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | CSD Vision | ACP-IRVPDNBPW | N/A | Comtel | 3 | 300 | 02/10/2013 | 02/10/2014 | 2 years |  | 10/10/2013 | 20/11/2014 | Micah Thomas | 876673
6 | Security, Communications & Nurse Call | Access point |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | MERU | MN320 | N/A | Comtel | 9 | 2500 | 02/10/2013 | 02/10/2014 | 5 years |  | 10/10/2013 | 10/10/2013 | Micah Thomas | 876674
7 | Security, Communications & Nurse Call | Nursecall Pendant |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Bed Rooms | Questek | AP3311 | N/A | Comtel | 45 | 50.00 | 02/10/2013 | 02/10/2014 | 1 years |  | 10/10/2013 | 16/11/2014 | Micah Thomas | 876675
8 | Security, Communications & Nurse Call | Nurse call ensuite point |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Ensuites | Questek | QCA031-WG | N/A | Comtel | 92 | 245 | 02/10/2013 | 02/10/2014 | 2 years |  | 10/10/2013 | 16/11/2014 | Micah Thomas | 876676
9 | Security, Communications & Nurse Call | Nurse call bed point |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Bedrooms | Questek | QCA12e-WG | N/A | Comtel | 45 | 330 | 02/10/2013 | 02/10/2014 | 2 years |  | 10/10/2013 | 16/11/2014 | Micah Thomas | 876677
48 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78B | Ex Servery | Under Basin | Aquablend | 1000 | n/a | Samios | 1 | 400 | 05/11/2013 | 05/11/2014 | 10 |  | 22/01/2014 | 01/04/2014 | Glenn Summers | 943528
145 | Mechanical Services | Dilution fan |  | Mechanical Services |  | Boiler Plant | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.06 | Boiler Room | Duct Mounted | Aerotech | AF480 | - | Automatic heating | 1 | 8000 | 01/09/2013 | 01/09/2014 | 10 years | F-37 | 06/02/2014 | 03/07/2014 | Steve Horvath | 950075
5 | Electrical Services | ELECTRICAL ACCESSORIES |  | Electrical Services |  | Power Outlets | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Throughout | Clipsal | Clipsal | N/A | Active Electrical | 1000 | 50.00 | 30/10/2013 | 12/05/2015 | 10 years |  | 28/04/2014 | 11/11/2014 | Micah Thomas | 978420
10 | Security, Communications & Nurse Call | Door reed switch |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Sentrol | CSD2002 | N/A | Comtel | 1 | 15 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983011
11 | Security, Communications & Nurse Call | Medium powered enclosure |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Inner Range | IR-995201PE | N/A | Comtel | 1 | 380 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983012
12 | Security, Communications & Nurse Call | Concept 4000 main controller |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Inner Range | IR-995003AUPSB | N/A | Comtel | 1 | 2850 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983013
13 | Security, Communications & Nurse Call | Door Controller module |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Inner Range | IR-995012PCB&K | N/A | Comtel | 1 | 600 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983014
14 | Security, Communications & Nurse Call | Request to Exit Button |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | CSD | CSD-1102 | N/A | Comtel | 1 | 72 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983015
15 | Security, Communications & Nurse Call | Emergency Break Glass |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | CSD | CSD-1100 | N/A | Comtel | 1 | 55 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983016
16 | Security, Communications & Nurse Call | Patient Wandering system |  | Communications, Security & IT |  | Patient Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Protrac | 2T5000 | N/A | Comtel | 1 | 1200 | 10/10/2013 | 10/10/2014 | 2 years |  | 15/06/2014 | 17/06/2014 | Micah Thomas | 983017
17 | Security, Communications & Nurse Call | Patient Wandering system tag |  | Communications, Security & IT |  | Patient Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Protrac | 2T7000 | N/A | Comtel | 1 | 150 | 10/10/2013 | 10/04/2014 | 1 year |  | 15/06/2014 | 15/06/2014 | Micah Thomas | 983018
18 | Security, Communications & Nurse Call | Data system patch panel |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Clipsal | clirj6/24 pp | N/A | Comtel | 3 | 306 | 10/10/2013 | 10/10/2014 | 5 years |  | 15/06/2014 | 17/06/2014 | Micah Thomas | 983019
19 | Security, Communications & Nurse Call | Data point |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Clipsal | CLI30RJ45SMA6WE | N/A | Comtel | 28 | 12.50 | 10/10/2013 | 10/10/2014 | 5 years |  | 17/06/2014 | 19/09/2014 | Micah Thomas | 983595
6 | Electrical Services | exit & emegency lighting |  | Electrical Services |  | Emergency Lighting System | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | throughout | Famco | N/A | N/A | Famco | 1 | 8000 | 01/08/2013 | 01/08/2014 | n/a |  | 09/09/2014 | 09/09/2014 | Micah Thomas | 997215
7 | Electrical Services | MATV/FOXTEL SYSTEM |  | Electrical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | throughout | IKUSI | N/A | N/A | IKUSI | 1 | 8000 | 01/08/2013 | 01/08/2014 | N/A | N/A | 09/09/2014 | 28/10/2014 | Micah Thomas | 997216
8 | Electrical Services | CONSON LIGHTING CONTROL |  | Electrical Services |  | Cables And Wires | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | throughout | CONSON | N/A | N/A | CONSON AUSTRALIA | 1 | 8000 | 01/08/2013 | 01/08/2014 | N/A | N/A | 09/09/2014 | 09/09/2014 | Micah Thomas | 997217
9 | Electrical Services | PUBLIC ADDRESS SYSTEM |  | Electrical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | THROUGH OUT | DIGI PAGE | N/A | N/A | SULLY SOUND | 1 | 8000 | 01/08/2013 | 01/08/2014 | N/A | N/A | 09/09/2014 | 09/09/2014 | Micah Thomas | 997218
10 | Electrical Services | CABLE TRAY |  | Electrical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | THROUGH OUT | KOUNIS | KOUNIS | N/A | KOUNIS | 1 | 8000 | 01/08/2013 | 01/08/2014 | N/A | N/A | 09/09/2014 | 09/09/2014 | Micah Thomas | 997219
11 | Electrical Services | SUB-MAINS |  | Electrical Services |  | Cables And Wires | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | THROUGHOUT | VARIOUS | N/A | N/A | ACTIVE ELECTRICAL | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 11/11/2014 | 11/11/2014 | Micah Thomas | 1008667
20 | Security, Communications & Nurse Call | Clipsal Cat 6 cable |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Clipsal Cat 6 cable | Clipsal | CLI2D4P6IPV3BBU | NA | Electrical Wholesalers | 1 | 1 |  |  | NA |  | 16/11/2014 | 20/11/2014 | Micah Thomas | 1008899
21 | Security, Communications & Nurse Call | Beldon LAN Cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Beldon | CS-SEC8723EQ | NA | Central SD | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008938
22 | Security, Communications & Nurse Call | 4 core security cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | ELCSEC14204 | NA | Elecrical Wholesalers | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008948
23 | Security, Communications & Nurse Call | 6 core security cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | ELCSEC14206 | NA | Elecrical Wholesalers | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008949
24 | Security, Communications & Nurse Call | Figure 8 cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | GARTCW24 | NA | Elecrical Wholesalers | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008950
25 | Security, Communications & Nurse Call | 8 core shielded data cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | GARMC78S | NA | Elecrical Wholesalers | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008951
26 | Security, Communications & Nurse Call | CCTV DVR |  | Communications, Security & IT |  | Closed Circuit Tv System | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Main Comms Room | Pro HD | PROHD161T | NA | CSD | 1 | 1285 | 10/10/2013 | 10/10/2014 | 3 |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008952
27 | Security, Communications & Nurse Call | Nursecall Display |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Nurse Base | Questek | AD1C13 | N/A | Comtel | 2 | 700 | 02/10/2013 | 02/10/2014 | 2 years |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008953
28 | Security, Communications & Nurse Call | Data system cable tidy |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Communications rooms | Clipsal | CLIRJ1UCMPC | N/A | Comtel | 3 | 80 | 10/10/2013 | 10/10/2014 | 5 years |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008954