**HYDRANT FIRE SERVICE**

The Existing 100mm copper service located in the lawn area on the Eastern side of Stage 2 is connected to a new 125mm poly line. There is a 100mm master sluice valve located near the Stairway outside G.97, controlling both hydrants on the Eastern side of Stage 2 . There are also individual 100mm sluice valve’s located below each of these hydrants. There is a branch and 100mm butterfly valve located within the ceiling space of the ground floor ceiling within Stage 1 connecting the hydrant on the Northern side in Stage 2. These valves, fire hydrants and pipe locations are noted on as constructed drawings.