## Assets
AssetNum | ManualName | Description | ServiceCode | Service | SubServiceCode | SubService | SiteCode | SiteName | StructureCode | StructureName | LevelCode | LevelName | SpaceNumber | SpaceName | Location Description | Make | Model | Serial | Supplier | Qty | Retail Price $ | Install Date | Wty Expiry Date | Life Exp | Reference information | Created Date | Last Updated Date | Last Updated By | Unique WebFM AssetID
1 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 30 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976091
2 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 32 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976112
3 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 34 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976114
4 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 36 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976116
5 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 37 | ENS | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976118
6 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 38 | ENS | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976120
7 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 39 | ENS | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976121
8 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 40 | ENS | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976122
9 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 41 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976123
10 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 43 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976124
11 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 45 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976125
12 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 47 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976126
13 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 49 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976127
14 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 51 | ENS | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976128
15 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 52 | ENS | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976129
16 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 53 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976130
17 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 55 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976131
18 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | 57 | ENS | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976132
19 | Hydraulic Services | Thermostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.99 | Ex WC | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976133
20 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.103 | Ex WC | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976137
21 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.110 | Ex WC | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976138
22 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.112 | Clean Utility | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976139
23 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.115 | Corridor | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976140
24 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.142 | Shower | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976141
25 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.160 | Ex Lounge | Under Sink | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976142
26 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.164 | Ex Cleaner | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976143
27 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.170 | Ex Servery | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976145
28 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.175 | Hairdresser | Wall Mounted | Aquablend | 1500 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976146
29 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.177 | Medical Care | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976147
30 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.180 | Disabled WC | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976148
31 | Hydraulic Services | Themostatic Mixing Valve |  | Hydraulic Services |  | Thermostatic Mixing Valves | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.182 | Disabled WC | Wall Mounted | Aquablend | 1000 | n/a | Samios | 1 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976149
32 | Hydraulic Services | Basin Drawer Unit |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | IFO | IFO Sense Cab | n/a | Samios | 30 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976150
33 | Hydraulic Services | Basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | IFO | IFO Sign IFO7472 | n/a | Samios | 30 | 700 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976151
34 | Hydraulic Services | WC Seat |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Floor Mounted | IFO | IFO IFO 0554-BD1999 | n/a | Samios | 33 | 300 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976152
35 | Hydraulic Services | WC |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Floor Mounted | IFO | IFO IFO6861 | n/a | Samios | 33 | 1000 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976153
36 | Hydraulic Services | Single Bowl Sink |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Bench Mounted | RF | M820R | n/a | Samios | 2 | 250 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976154
37 | Hydraulic Services | 1 I/2 Bowl Sink |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Bench Mounted | RF | M1200R | n/a | Samios | 4 | 300 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976155
38 | Hydraulic Services | Micro Trap C/P |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Under Basin | IFO | IFO15922 | n/a | Samios | 37 | 50 | 15/05/2014 | 15/05/2015 | 5 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976157
39 | Hydraulic Services | Basin Shroud |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Under Basin | IFO | Cera IFO4316FM2 | n/a | Samios | 2 | 200 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976160
40 | Hydraulic Services | Basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | IFO | Cera 600 | n/a | Samios | 5 | 500 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976161
41 | Hydraulic Services | Basin Set |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Hob Mounted | Enware | ENWLEV150306 Dis Lever | n/a | Samios | 3 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976163
42 | Hydraulic Services | Basin Set |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Hob Mounted | Enware | ENWLEV80306 | n/a | Samios | 32 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976165
43 | Hydraulic Services | Shower Mixer |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | In Wall Mounted | Enware | ENWSLM608 | n/a | Samios | 31 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976166
44 | Hydraulic Services | Hand Shower |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | Enware | ENWSGR023 | n/a | Samios | 31 | 150 | 15/05/2014 | 15/05/2015 | 5 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976168
45 | Hydraulic Services | Electronic Sensor Tap |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Wall Mounted | Enware | Enmatic ENM6550 | n/a | Samios | 2 | 600 | 15/05/2014 | 15/05/2015 | 5 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976170
46 | Hydraulic Services | Sink mixer |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Hob Mounted | Enware | Oras Saga EMNWSM307A | n/a | Samios | 5 | 400 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976172
47 | Hydraulic Services | Boiling Water Unit |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Under Sink | Zip | HTI 707D | n/a | Samios | 2 | 2500 | 15/05/2014 | 15/05/2015 | 10 Years |  | 01/04/2014 | 01/04/2014 | Glenn Summers | 976174
48 | Hydraulic Services | Semi Recessed Basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.175 | Hairdresser | Bench mounted | Caroma | Caravelle | n/a | Samios | 1 | 300 | 15/05/2014 | 15/05/2015 | 10 Years |  | 02/04/2014 | 02/04/2014 | Glenn Summers | 976194
49 | Hydraulic Services | Vanity Basin |  | Hydraulic Services |  | Sanitary Fixtures & Fitments | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.177 | Medical Care | Bench mounted | Caroma | Caravelle | n/a | Samios | 1 | 300 | 15/05/2014 | 15/05/2015 | 10 Years |  | 02/04/2014 | 02/04/2014 | Glenn Summers | 976195
1 | Fire Hydraulics | Fire Hydrant Valve Storz |  | Fire Services |  | Hydrant Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Floor Mounted | Mathews Fire Alarn | VLV 63 Storz | FS 00362 | Fire Australian Co. | 1 | 600 | 15/05/2014 | 15/05/2015 | 10 |  | 02/04/2014 | 02/04/2014 | Glenn Summers | 976196
1 | Electrical Services | DB-1 |  | Electrical Services |  | Distribution Boards | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.78 | Corridor |  | ABB | DISTRIBUTION BOARD | DB-1 | ABB | 1 | 8000 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 24/11/2014 | Micah Thomas | 982654
2 | Electrical Services | DB-4 |  | Electrical Services |  | Distribution Boards | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor |  | ABB | DISTRIBUTION BOARD | DB-4 | ABB | 1 | 8000 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 24/11/2014 | Daryl Marson | 982655
3 | Electrical Services | LIGHT FITTINGS |  | Electrical Services |  | Lighting Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | THROUGH OUT | VARIOUS | VARIOUS | N/A | LECKYS EPPING | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 24/11/2014 | Micah Thomas | 982658
4 | Electrical Services | LIGHTING CONTROL |  | Electrical Services |  | Lighting Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | PUBLIC LIGHTING | CONSON | N/A | N/A | CONSON | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 24/11/2014 | Micah Thomas | 982661
5 | Electrical Services | FAMCO MONITORING SYSTEM |  | Electrical Services |  | Emergency Lighting System | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | THROUGH OUT | FAMCO | FAMCO | N/A | FAMCO | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 10/11/2014 | Micah Thomas | 982680
6 | Electrical Services | MATV/FOXTEL |  | Electrical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | THROUGH OUT | VARIOUS | VARIOUS | N/A | VARIOUS | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 04/06/2014 | Micah Thomas | 982681
7 | Electrical Services | PA SYSTEM |  | Electrical Services |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | THROUGH OUT | VARIOUS | VARIOUS | N/A | VARIOUS | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 04/06/2014 | Micah Thomas | 982682
8 | Electrical Services | ACCESSORIES |  | Electrical Services |  | Power Outlets | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | THROUGH OUT | VARIOUS | VARIOUS | N/A | VARIOUS | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 04/06/2014 | 04/06/2014 | Micah Thomas | 982683
1 | Security, Communications & Nurse Call | Electric Mag Lock |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | FSH | 3500 | NA | COMTEL | 4 | 572 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 21/11/2014 | Micah Thomas | 982993
2 | Security, Communications & Nurse Call | Electric Strike |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | FSH | FEM20 | NA | COMTEL | 5 | 241 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 21/11/2014 | Micah Thomas | 982994
3 | Security, Communications & Nurse Call | Electric Strike |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | FSH | FEM10 | NA | COMTEL | 5 | 150 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 21/11/2014 | Micah Thomas | 982995
4 | Security, Communications & Nurse Call | Security Keypad |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Rosslare | AYC-F54 | NA | COMTEL | 24 | 153 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 13/06/2014 | Micah Thomas | 982996
5 | Security, Communications & Nurse Call | CCTV Camera |  | Communications, Security & IT |  | Closed Circuit Tv System | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | CSD | PHD-D28-12IR-GR | NA | COMTEL | 6 | 300 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 21/11/2014 | Micah Thomas | 982997
6 | Security, Communications & Nurse Call | Wireless Access Point |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | MERU | MN-AP320e | NA | COMTEL | 12 | 1800 | 12/06/2014 | 12/06/2015 | 3 years |  | 13/06/2014 | 21/11/2014 | Micah Thomas | 982998
7 | Security, Communications & Nurse Call | Nursecall Bed Point |  | Communications, Security & IT |  | Call Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Questek | QCA12e | NA | COMTEL | 30 | 400 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 13/06/2014 | Micah Thomas | 982999
8 | Security, Communications & Nurse Call | Nursecall ensuite point |  | Communications, Security & IT |  | Call Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Questek | QCA032 | NA | COMTEL | 60 | 300 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 13/06/2014 | Micah Thomas | 983000
9 | Security, Communications & Nurse Call | Nursecall patient pendant |  | Communications, Security & IT |  | Call Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Questek | AP3311 | NA | COMTEL | 30 | 60 | 12/06/2014 | 12/06/2015 | 1 years |  | 13/06/2014 | 13/06/2014 | Micah Thomas | 983001
10 | Security, Communications & Nurse Call | Emergency Break Glass |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | CSD | CSD-1100 | NA | COMTEL | 14 | 55 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 15/06/2014 | Micah Thomas | 983002
11 | Security, Communications & Nurse Call | Request to Exit Button |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | CSD | CSD-1102 | NA | COMTEL | 2 | 72 | 12/06/2014 | 12/06/2015 | 2 years |  | 13/06/2014 | 15/06/2014 | Micah Thomas | 983003
12 | Security, Communications & Nurse Call | Door Controller module |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Inner Range | IR-995012PCB&K | NA | COMTEL | 7 | 600 | 12/06/2014 | 12/06/2015 | 5 years |  | 13/06/2014 | 15/06/2014 | Micah Thomas | 983004
13 | Security, Communications & Nurse Call | Medium powered enclosure |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Inner Range | IR-995201PE | NA | COMTEL | 7 | 380 | 12/06/2014 | 12/06/2015 | 5 years |  | 13/06/2014 | 15/06/2014 | Micah Thomas | 983005
14 | Security, Communications & Nurse Call | Concept 4000 main controller |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Inner Range | IR-995003AUPSB | NA | COMTEL | 1 | 2850 | 12/06/2014 | 12/06/2015 | 5 years |  | 13/06/2014 | 15/06/2014 | Micah Thomas | 983006
15 | Security, Communications & Nurse Call | Door Reed switch 19mm |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Sentrol | CSD2002 | NA | COMTEL | 1 | 15 | 12/06/2014 | 12/06/2015 | 5 years |  | 13/06/2014 | 13/06/2014 | Micah Thomas | 983007
1 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-043 | Bed | Wall | Mitsubishi | PKFY-P50VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-D | 25/06/2014 | 25/06/2014 | Steve Horvath | 984049
2 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-044 | Bed | Wall | Mitsubishi | PKFY-P50VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-D | 25/06/2014 | 25/06/2014 | Steve Horvath | 984050
3 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-045 | Bed | Wall | Mitsubishi | PKFY-P50VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-D | 25/06/2014 | 25/06/2014 | Steve Horvath | 984051
4 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-046 | Bed | Wall | Mitsubishi | PKFY-P50VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-D | 25/06/2014 | 25/06/2014 | Steve Horvath | 984052
5 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-047 | Bed | Wall | Mitsubishi | PKFY-P50VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-D | 25/06/2014 | 25/06/2014 | Steve Horvath | 984053
6 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-048 | Bed | Wall | Mitsubishi | PKFY-P50VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-D | 25/06/2014 | 25/06/2014 | Steve Horvath | 984054
7 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-029 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984055
8 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-030 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984056
9 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-031 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984057
10 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-032 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984058
11 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-033 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984059
12 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-034 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984060
13 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-035 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984061
14 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-036 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984062
15 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-053 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984063
16 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-054 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984064
17 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-055 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984065
18 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-056 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984066
19 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-057 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984067
20 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-058 | Bed | Wall | Mitsubishi | PKFY-P25VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-A | 25/06/2014 | 25/06/2014 | Steve Horvath | 984068
21 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-037 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-B | 25/06/2014 | 25/06/2014 | Steve Horvath | 984069
22 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-038 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-B | 25/06/2014 | 25/06/2014 | Steve Horvath | 984070
23 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-039 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-B | 25/06/2014 | 25/06/2014 | Steve Horvath | 984071
24 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-040 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-B | 25/06/2014 | 25/06/2014 | Steve Horvath | 984072
25 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-041 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-B | 25/06/2014 | 25/06/2014 | Steve Horvath | 984073
26 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-042 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-B | 25/06/2014 | 25/06/2014 | Steve Horvath | 984074
27 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-049 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-C | 25/06/2014 | 25/06/2014 | Steve Horvath | 984075
28 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-050 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-C | 25/06/2014 | 25/06/2014 | Steve Horvath | 984076
29 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-051 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-C | 25/06/2014 | 25/06/2014 | Steve Horvath | 984077
30 | Mechanical Services | Wall Mounted A/C Unit |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-052 | Bed | Wall | Mitsubishi | PKFY-P32VHM | - | Mitsubishi Electric | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | AC-C | 25/06/2014 | 25/06/2014 | Steve Horvath | 984078
31 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.160 | Ex Lounge | Ceiling | Mitsubishi | PLFY-P80VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-51 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984079
32 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.97 | Existing Sitting | Ceiling | Mitsubishi | PLFY-P80VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-52 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984080
33 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.166 | Dining | Ceiling | Mitsubishi | PLFY-P80VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-49 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984081
34 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.145 | Staff Room | Ceiling | Mitsubishi | PLFY-P80VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-40 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984082
35 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.113 | Staff Station | Ceiling | Mitsubishi | PLFY-P40VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-47 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984083
36 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.138 | Reception | Ceiling | Mitsubishi | PLFY-P100VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-54 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984084
37 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.177 | Medical Care | Ceiling | Mitsubishi | PLFY-P32VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-44 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984085
38 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.175 | Hairdresser | Ceiling | Mitsubishi | PLFY-P25VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-45 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984086
39 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.175 | Hairdresser | Ceiling | Mitsubishi | PLFY-P25VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-46 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984087
40 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.129 | Interview/Unit Manager Office | Ceiling | Mitsubishi | PLFY-P25VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-31 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984088
41 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.134 | Director of Care Office | Ceiling | Mitsubishi | PLFY-P25VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-32 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984089
42 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.135 | Office Common Area Office | Ceiling | Mitsubishi | PLFY-P25VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-33 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984090
43 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.136 | Payroll Office | Ceiling | Mitsubishi | PLFY-P20VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-34 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984091
44 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.137 | Admin Officer Office | Ceiling | Mitsubishi | PLFY-P20VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-35 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984092
45 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.130 | Clinical Risk Manager Office | Ceiling | Mitsubishi | PLFY-P20VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-36 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984093
46 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.131 | General Services Manager Office | Ceiling | Mitsubishi | PLFY-P20VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-37 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984094
47 | Mechanical Services | Cassette |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.132 | Executive Manager Office | Ceiling | Mitsubishi | PLFY-P20VBM | - | Mitsubishi Electric | 1 | 1500 | 25/06/2014 | 25/06/2015 | 10 years | AC-38 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984095
48 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.151 | Chapel/Hall | Ceiling | Mitsubishi | PEFY-P140-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-43 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984096
49 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.151 | Chapel/Hall | Ceiling | Mitsubishi | PEFY-P200-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-41 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984097
50 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.151 | Chapel/Hall | Ceiling | Mitsubishi | PEFY-P200-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-42 | 25/06/2014 | 25/06/2014 | Steve Horvath | 984098
51 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.171 | Ex Dining | Ceiling | Mitsubishi | PEFY-P200-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-48 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984099
52 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.169 | Activity | Ceiling | Mitsubishi | PEFY-P200-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-50 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984100
53 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.145 | Staff Room | Ceiling | Mitsubishi | PEFY-P200-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-53 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984101
54 | Mechanical Services | Fancoil |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.140 | Multipurpose/Boardroom | Ceiling | Mitsubishi | PEFY-P140-VMH-E | - | Mitsubishi Electric | 1 | 2500 | 25/06/2014 | 25/06/2015 | 10 years | AC-39 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984102
55 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PURY-P350YJM-A | - | Mitsubishi Electric | 1 | 10000 | 25/06/2014 | 25/06/2015 | 10 years | VRV-14 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984103
56 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PURY-P650YSJM-A | - | Mitsubishi Electric | 1 | 10000 | 25/06/2014 | 25/06/2015 | 10 years | VRV-15 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984104
57 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PURY-P350YJM-A | - | Mitsubishi Electric | 1 | 10000 | 25/06/2014 | 25/06/2015 | 10 years | VRV-16 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984105
58 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PURY-P450YJM-A | - | Mitsubishi Electric | 1 | 10000 | 25/06/2014 | 25/06/2015 | 10 years | VRV-17 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984106
59 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PURY-P400YJM-A | - | Mitsubishi Electric | 1 | 10000 | 25/06/2014 | 25/06/2015 | 10 years | VRV-18 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984107
60 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PURY-P500YSJM-A | - | Mitsubishi Electric | 1 | 10000 | 25/06/2014 | 25/06/2015 | 10 years | VRV-19 | 26/06/2014 | 04/07/2014 | Steve Horvath | 984108
61 | Mechanical Services | VRF Condensor |  | Mechanical Services |  | Mini Split System Up To 20Kw (Including Ceiling, Floor And High Wall Split System) | AACC | Assisi | AACC1 | Assisi Aged Care Centre | RF | Roof |  |  | Platform | Mitsubishi | PUMY-P140YHMB | - | Mitsubishi Electric | 1 | 4000 | 25/06/2014 | 25/06/2015 | 10 years | AC-43 | 26/06/2014 | 26/06/2014 | Steve Horvath | 984109
62 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.102 | Ex Dirty Utility | Ceiling | Fantech | TD-800/200N | - | Fantech | 1 | 250 | 25/06/2014 | 25/06/2015 | 10 years | F-34 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984609
63 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.123 | Dirty Linen | Ceiling | Fantech | RIL-150 | - | Fantech | 1 | 150 | 25/06/2014 | 25/06/2015 | 10 years | F-36 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984610
64 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.112 | Clean Utility | Ceiling | Fantech | PCE314ER | - | Fantech | 1 | 750 | 25/06/2014 | 25/06/2015 | 10 years | F-25 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984611
65 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.107 | Ex Treatment Room | Ceiling | Fantech | TD-800/200SIL | - | Fantech | 1 | 300 | 25/06/2014 | 25/06/2015 | 10 years | F-27 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984612
66 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.182 | Disabled WC | Ceiling | Fantech | TD-800/200 | - | Fantech | 1 | 250 | 25/06/2014 | 25/06/2015 | 10 years | F-21 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984613
67 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.175 | Hairdresser | Ceiling | Fantech | RIL-150 | - | Fantech | 1 | 150 | 25/06/2014 | 25/06/2015 | 10 years | F-35 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984614
68 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.141 | Change Room | Ceiling | Fantech | TD-800/200N | - | Fantech | 1 | 250 | 25/06/2014 | 25/06/2015 | 10 years | F-24 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984615
70 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Ceiling | Fantech | MME354/5 | - | Fantech | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | F-29-Corridor 155 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984617
71 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Ceiling | Fantech | PCE354DD | - | Fantech | 1 | 750 | 25/06/2014 | 25/06/2015 | 10 years | F-26-Corridor 153 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984618
72 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Ceiling | Fantech | MME404/3 | - | Fantech | 1 | 850 | 25/06/2014 | 25/06/2015 | 10 years | F-32-Corridor 159 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984619
73 | Mechanical Services | Fan |  | Mechanical Services |  | Ventilation Fans | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Ceiling | Fantech | MME354/5 | - | Fantech | 1 | 700 | 25/06/2014 | 25/06/2015 | 10 years | F-28-Corridor 101 | 03/07/2014 | 04/07/2014 | Steve Horvath | 984620
74 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-043 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | C | 04/07/2014 | 04/07/2014 | Steve Horvath | 984621
75 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-044 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | C | 04/07/2014 | 04/07/2014 | Steve Horvath | 984622
76 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-045 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | C | 04/07/2014 | 04/07/2014 | Steve Horvath | 984623
77 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-046 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | C | 04/07/2014 | 04/07/2014 | Steve Horvath | 984624
78 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-047 | Bed | Wall | Solazar | 186320 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | C | 04/07/2014 | 04/07/2014 | Steve Horvath | 984625
79 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-029 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984626
80 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-030 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984627
81 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-031 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984628
82 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-032 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984629
83 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-033 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984630
84 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-034 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984631
85 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-035 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984632
86 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-036 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984633
87 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-037 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984634
88 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-038 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984635
89 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-039 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984636
90 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-040 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984637
91 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-041 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984638
92 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-042 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984639
93 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-049 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984640
94 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-050 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984641
95 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-051 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984642
96 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-052 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984643
97 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-053 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984644
98 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-054 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984645
99 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-055 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984646
100 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-056 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984647
101 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-057 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984648
102 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-058 | Bed | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984649
103 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | AC-048 | Bed | Wall | Solazar | 186324 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | D | 04/07/2014 | 04/07/2014 | Steve Horvath | 984650
104 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.151 | Chapel/Hall | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984651
105 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.151 | Chapel/Hall | Wall | Solazar | 186414 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | K | 04/07/2014 | 04/07/2014 | Steve Horvath | 984652
106 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.145 | Staff Room | Wall | Solazar | 186408 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984653
107 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.140 | Multipurpose/Boardroom | Wall | Solazar | 186408 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984654
108 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.177 | Medical Care | Wall | Solazar | 186408 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984655
109 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.171 | Ex Dining | Wall | Solazar | 186408 | - | Hurlcon | 3 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984656
110 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.136 | Payroll Office | Wall | Solazar | 186408 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984657
111 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.131 | General Services Manager Office | Wall | Solazar | 186408 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984658
112 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.132 | Executive Manager Office | Wall | Solazar | 186408 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984659
113 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.134 | Director of Care Office | Wall | Solazar | 186408 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984660
114 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.130 | Clinical Risk Manager Office | Wall | Solazar | 186406 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | F | 04/07/2014 | 04/07/2014 | Steve Horvath | 984661
115 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.175 | Hairdresser | Wall | Solazar | 186406 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | F | 04/07/2014 | 04/07/2014 | Steve Horvath | 984662
116 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.167 | Activity Office/Store | Wall | Solazar | 186406 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | F | 04/07/2014 | 04/07/2014 | Steve Horvath | 984663
117 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.113 | Staff Station | Wall | Solazar | 186408 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | G | 04/07/2014 | 04/07/2014 | Steve Horvath | 984664
118 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.129 | Interview/Unit Manager Office | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984665
119 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.140B | FTP | Wall | Solazar | 186418 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | M | 04/07/2014 | 04/07/2014 | Steve Horvath | 984666
120 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.166 | Dining | Wall | Solazar | 186418 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | M | 04/07/2014 | 04/07/2014 | Steve Horvath | 984667
121 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.160 | Ex Lounge | Wall | Solazar | 186416 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | L | 04/07/2014 | 04/07/2014 | Steve Horvath | 984668
122 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.169 | Activity | Wall | Solazar | 186412 | - | Hurlcon | 4 | 500 | 25/06/2014 | 25/06/2015 | 15 years | J | 04/07/2014 | 04/07/2014 | Steve Horvath | 984669
123 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.135 | Office Common Area Office | Wall | Solazar | 186412 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | J | 04/07/2014 | 04/07/2014 | Steve Horvath | 984670
124 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.137 | Admin Officer Office | Wall | Solazar | 186410 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | H | 04/07/2014 | 04/07/2014 | Steve Horvath | 984671
125 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.139 | Entry | Wall | Solazar | 184412 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | T | 04/07/2014 | 04/07/2014 | Steve Horvath | 984672
126 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.139 | Entry | Wall | Solazar | 184418 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q | 04/07/2014 | 04/07/2014 | Steve Horvath | 984673
127 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.05 | Lobby | Wall | Solazar | 184418 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q-Plaza 174 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984674
128 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.05 | Lobby | Wall | Solazar | 184420 | - | Hurlcon | 3 | 500 | 25/06/2014 | 25/06/2015 | 15 years | R-Plaza 114 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984675
129 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.05 | Lobby | Wall | Solazar | 184420 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | R-Plaza 174 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984676
130 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.150 | Corridor | Wall | Solazar | 184420 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | R | 04/07/2014 | 04/07/2014 | Steve Horvath | 984677
131 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Wall | Solazar | 184420 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | R-Corridor 133 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984678
132 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Wall | Solazar | 184420 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | R-Corridor 181 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984679
133 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Wall | Solazar | 184416 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | P-Corridor-153 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984680
134 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Wall | Solazar | 184416 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | P-Corridor-155 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984681
135 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Wall | Solazar | 184416 | - | Hurlcon | 3 | 500 | 25/06/2014 | 25/06/2015 | 15 years | P-Corridor-105 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984682
136 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.156 | Corridor | Wall | Solazar | 184418 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q | 04/07/2014 | 04/07/2014 | Steve Horvath | 984683
137 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.02 | Corridor | Wall | Solazar | 184418 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q-Corridor-159 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984684
138 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.02 | Corridor | Wall | Solazar | 184418 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q-Corridor-98 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984685
139 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.02 | Corridor | Wall | Solazar | 184418 | - | Hurlcon | 2 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q-Corridor-154 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984686
140 | Mechanical Services | Radiator |  | Mechanical Services |  | Heat Exchangers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.02 | Corridor | Wall | Solazar | 184418 | - | Hurlcon | 1 | 500 | 25/06/2014 | 25/06/2015 | 15 years | Q-Corridor-101 | 04/07/2014 | 04/07/2014 | Steve Horvath | 984687
1 | Fire Electrical | smoke detector |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Apollo | XP-95 | 201-0003 | Ampac | 127 | 95 | 20/05/2014 | 30/06/2015 | 20 years |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984775
2 | Fire Electrical | Detectort base |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Apollo | XP-95 | 201-0004 | Ampac | 127 | 12 | 20/05/2014 | 30/06/2015 | 20 |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984776
3 | Fire Electrical | Evacuation speaker |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas except bedrooms | Radback | One shot | 218-0026 | Ampac | 60 | 18 | 20/05/2014 | 30/06/2015 | 20 |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984777
4 | Fire Electrical | Manual Call points |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Corridors at 20 m from the exits | Apollo | XP-95 | 213-0050 | Ampac | 5 | 95 | 20/05/2014 | 30/06/2015 | 20 |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984778
5 | Fire Electrical | Magnetic doore holder |  | Fire Services |  | Fire Detection Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | At smoke doors | Ampac | H136- Surface mount | 212-003 | Ampac | 12 | 125 | 20/05/2014 | 30/06/2015 | 20 |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984779
1 | Fire Services | Sprinkler heads |  | Fire Services |  | Automatic Sprinkler Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Globe | Gl series | Gl4221 | Globe | 500 | 8 | 20/05/2014 |  | 25+ |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984780
2 | Fire Services | Residential sprinklers |  | Fire Services |  | Automatic Sprinkler Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Globe | Gl series | Gl4110 | Globe | 500 | 10 | 20/05/2014 |  | 25+ |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984781
3 | Fire Services | Sprinkler Escutcheon plates |  | Fire Services |  | Automatic Sprinkler Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | All areas | Globe | 2 piece recessed | 3254244 | Globe | 1000 | 2 | 20/05/2014 |  | 25+ |  | 07/07/2014 | 07/07/2014 | Adam McSween | 984782
16 | Security, Communications & Nurse Call | Patient Wandering System |  | Communications, Security & IT |  | Patient Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Patient Wandering System | PROTRAC | 2T5000 | N/A | PROTRAC | 10 | 1200 | 15/06/2014 | 15/06/2014 | 2 |  | 19/09/2014 | 19/09/2014 | Micah Thomas | 997609
17 | Security, Communications & Nurse Call | Patient Wandering System tag |  | Communications, Security & IT |  | Patient Systems | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Patient Wandering System | PROTRAC | 2T7000 | N/A | PROTRAC | 10 | 150 | 15/06/2014 | 15/06/2014 | 1 |  | 19/09/2014 | 19/09/2014 | Micah Thomas | 997610
18 | Security, Communications & Nurse Call | Data System Patch Panel |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Clipsal | CLIRJ6/24PP | N/A | Comtel | 1 | 306 | 15/06/2014 | 15/06/2014 | 1 |  | 19/09/2014 | 19/09/2014 | Micah Thomas | 997611
19 | Security, Communications & Nurse Call | Data Point |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Clipsal | CLI30RJ45SMA6WE | N/A | Comtel | 1 | 12.5 | 15/06/2013 | 15/06/2014 | 5 |  | 19/09/2014 | 20/11/2014 | Micah Thomas | 997612
9 | Electrical Services | SUBMAINS |  | Electrical Services |  | Cables And Wires | AACC | Assisi | AACC1 | Assisi Aged Care Centre |  |  |  |  | THROUGHOUT | VARIOUS | VARIOUS | N/A | ACTIVE ELECTRICAL | 1 | 1 | 01/04/2014 | 01/04/2015 | 10 YEARS |  | 11/11/2014 | 11/11/2014 | Micah Thomas | 1008643
20 | Security, Communications & Nurse Call | Clipsal Cat 6 Cable |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Sitewide | Clipsal | CLI2D4P6IPV3BBU | NA | Electrical Wholsalers | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008936
21 | Security, Communications & Nurse Call | Beldon LAN Cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Beldon | CS-SEC8723EQ | NA | Central SD | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008939
22 | Security, Communications & Nurse Call | Door Phone |  | Communications, Security & IT |  | Security Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Main Entries | Dallas Delta | GuardMK2dcom1V | NA | Dallas Delta | 1 | 920 | 12/06/2014 | 12/06/2015 | 3 |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008940
23 | Security, Communications & Nurse Call | 4 core security cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | ELCSEC14204 | NA | Electrical Wholesaler | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008943
24 | Security, Communications & Nurse Call | 6 core security cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | ELCSEC14206 | NA | Electrical Wholesaler | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008945
25 | Security, Communications & Nurse Call | Figure 8 cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | GARTCW24 | NA | Electrical Wholesaler | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008946
26 | Security, Communications & Nurse Call | 8 core shielded data cable |  | Communications, Security & IT |  | Access Controls | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Site Wide | Security | GARMC78S | NA | Electrical Wholesaler | 1 | 1 |  |  | NA |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008947
27 | Security, Communications & Nurse Call | Data System cable tidy |  | Communications, Security & IT |  | Not Elsewhere Included | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  |  | Clipsal | CLIRJ1UCMPC | N/A | Comtel | 3 | 80 | 15/06/2014 | 15/06/2014 | 1 |  | 20/11/2014 | 20/11/2014 | Micah Thomas | 1008955
1 | Architectural/Builder's Manual | Dishwasher |  | Furniture Fitments & Equipment |  | Kitchen - Dishwashers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Staff Room | Bosch | SMS63M18AU | No.1 | Harvey Norman | 1 | 955.00 | 25/05/2014 | 25/05/2015 | 10 years |  | 21/04/2015 | 21/04/2015 | Daryl Marson | 1009752
2 | Architectural/Builder's Manual | Microwave |  | Furniture Fitments & Equipment |  | Kitchen - Refrigeration | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Staff Room | LG | MS3882XRSK | No.1 | Harvey Norman | 1 | 260.00 | 25/05/2014 | 25/05/2015 | 5 years |  | 21/04/2015 | 21/04/2015 | Daryl Marson | 1009753
3 | Architectural/Builder's Manual | Bar Fridge |  | Furniture Fitments & Equipment |  | Kitchen - Refrigeration | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor | G.140 | Multipurpose/Boardroom | Board Room | Fisher & Paykel | P120RSX | No.1 | Harvey Norman | 1 | 355.00 | 25/04/2014 | 25/05/2015 | 7 years |  | 21/04/2015 | 21/04/2015 | Daryl Marson | 1009754
4 | Architectural/Builder's Manual | Dishwasher |  | Furniture Fitments & Equipment |  | Kitchen - Dishwashers | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Cafe | Miele | G7859 | No.1 | Harvey Norman | 1 | 5095.00 | 25/04/2014 | 25/05/2015 | 10 Years |  | 21/04/2015 | 21/04/2015 | Daryl Marson | 1009755
5 | Architectural/Builder's Manual | Microwave |  | Furniture Fitments & Equipment |  | Kitchen - Refrigeration | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Cafe | LG | MS3882XRSK | No.1 | Harvey Norman | 1 | 260.00 | 25/05/2014 | 25/05/2015 | 5 years |  | 21/04/2015 | 21/04/2015 | Daryl Marson | 1009756
6 | Architectural/Builder's Manual | Microwave |  | Furniture Fitments & Equipment |  | Kitchen - Refrigeration | AACC | Assisi | AACC1 | Assisi Aged Care Centre | GF | Ground Floor |  |  | Clean Utlities | LG | MS3882XRSK | No.1 | Harvey Norman | 1 | 260.00 | 25/05/2014 | 25/05/2015 | 5 years |  | 21/04/2015 | 21/04/2015 | Daryl Marson | 1009757