## Slide 1
PLUMBCO PLUMBERS
ASSISI CENTRE – STAGE 3
230 ROSANNA ROAD
ROSANNA, VIC
Notes: <number>

## Slide 2
ENM6550 ENMATIC ELECTRA EXP SENSOR TAP
272
136
Notes: <number>

## Slide 3
ENWSLM307A ORAS SAGA SINK MIXER SLIM
Notes: <number>

## Slide 4
ENWSGR023 GRAB RAIL 900MM S/S& HAND SHOWER
Notes: <number>

## Slide 5
ENWSLM608 ORAS VEGA SINGLE LEVER SHOWER MIXER
Notes: <number>

## Slide 6
ENWLEV80306 BASIN SET LEVER W/-SPC001 FIXED SPOUT ¼ C/D
Notes: <number>

## Slide 7
ENWLEV150306 BASIN SET W/-SPC001 ¼ TURN CERAMIC DISC
Notes: <number>

## Slide 8
IFO2360-100 IFO CERA 600 NTH WALL BASIN
Notes: <number>

## Slide 9
IFO4316FM2 IFO CERA SHROUD
Notes: <number>

## Slide 10
IFO15922 IFO MICROTRAP C/P
FEATURES • Easily installed • Smallest watermark approved trap • Pop up waste • Only to be installed to basins that are connected to floor waste gullies.
Notes: <number>

## Slide 11
M820R 820MM SINGLE R/H BOWL&DRAINER 1TH
Single Bowl & Single Drainer
820 x 500 x 190
RHB M820R
Notes: <number>

## Slide 12
IFO6861 IFO SIGN INCREASED HEIGHT SNV
Notes: <number>

## Slide 13
IFO554-BD1999 TOILET SEAT
155
285
227
425
360
Notes: <number>

## Slide 14
IFO7472 SIGN BASIN 900 R/H BOWL NTH
Notes: <number>

## Slide 15
IFO96487R SIGN R/H BASIN BRACKET
Notes: <number>

## Slide 16
IFO7462 SIGN BASIN 900 L/H BOWL NTH
Notes: <number>

## Slide 17
IFOSG47099-2D-50/50 SENSE BASE CAB 300MM
IFO47299 SENSE DRAWER FRONT
300MM
748MM
366
520MM
260MM
Notes: <number>

## Slide 18
ATMS119R AQUABLEND 1000 W/-RBOX 4 HOLE
COLD IN
COLD OUT
WARM OUT
HOT IN
1) 790923-AQUA BOX 1000 4 HOLE SINGLE BYPASS
2) 671127-LID-AQUABLEND 370X370 RECESSED
Notes: <number>

## Slide 19
ATMS719R AQUABLEND 1500 W/LOCK S/S CAB REC. 4 HOLE
370
RECESS LID
350
HOT IN
WARM OUT
COLD IN
COLD OUT
Notes: <number>

## Slide 20
M1160L 1160MM 1&3/4 LEFT HAND BOWL SINK
Notes: <number>

## Slide 21
· 550x445mm, Bowl capacity 9 litres
· Supplied without overflow
· Includes flush-fitting white plug and waste
· Vitreous china, white only
CARAVELLE 550 S/R BASIN
Notes: <number>

## Slide 22
· 600x445mm, Bowl capacity 12 litres
· Supplied without overflow
· Includes flush-fitting white plug and waste
· Vitreous china, white only
CARAVELLE 600 VANITY BASIN
Notes: <number>

## Slide 23
ZIP HT1707 B240 HYDROTAP
Notes: <number>

## Slide 24
All technical specifications presented are a guide only.
These are for presentation and evaluation purposes, and are not official technical documents.
All specifications should be verified prior to construction or installation.
SAMIOS takes no responsibility for installations done based upon these specific documents.
Notes: <number>